## Instructions
Tool Readiness Tracker – Instructions
Purpose:
This tracker helps evaluate equipment/tooling readiness for use in production or process transfer scenarios.
How to Use:
- Each row should represent a unique tool, module, or equipment unit required for the manufacturing process.
- Use 'Tool Category' and 'Used In Step' to identify how each tool fits into the process.
- Track IQ/OQ/PQ completion, SOP documentation availability, and preventative maintenance (PM) status.
- The 'Readiness Status' column summarizes the overall status: Not Started, In Progress, or Ready.
- Use the 'Notes' column to capture blockers, verification actions, or owner assignments.
This file includes:
- Tool Readiness Log with real-world biotech example entries
- Dropdown Options for status tracking fields
- Change Log for version history and maintenance

## Tool Readiness Log
Tool ID | Tool Category | Used In Step | IQ Status | OQ Status | PQ Status | SOP Available | Readiness Status | Notes/Status
BIO-001 | Bioreactor | Upstream | Completed | Completed | Pending | Yes | In Progress | PQ dry run scheduled this week
FIL-002 | Sterile Filter Holder | Harvest | Completed | Completed | Completed | Yes | Ready | Used successfully in 3 batches
FRZ-003 | Cryogenic Freezer | Cryopreservation | Completed | In Progress | Not Started | No | Not Started | Awaiting calibration vendor visit
BUF-004 | Buffer Hold Tank | Buffer Prep | Completed | Completed | Completed | Yes | Ready | SOP linked in doc control system
FLO-005 | Flow Controller | Formulation | Not Started | Not Started | Not Started | No | Not Started | Tool not yet delivered

## Dropdown Options
Tool Category
Bioreactor
Sterile Filter Holder
Cryogenic Freezer
Buffer Hold Tank
Flow Controller

## Change Log
Version | Change Description | Author | Date
v1 | Initial draft of Tool Readiness Tracker with IQ/OQ/PQ and SOP fields | Josh Villanueva | 2025-06-28